## Locations
Attachment B_Rev_Pricing Worksheet
Oak Park Broadband Consortium
Name | Address | Type of Location | Coordinates in Latitude, Longitude Order | Description of Enty into building to demarcation
Sample | Sample | School |  | Conduit entry on east side of the building 1/2 way behind bush. Conduit entry leads to a utlity closet. Proceed through ceiling of utility closet (15 feet) to the demarc rack in a separate room. Drop to demarc rack through ceiling.
William Beye Elementary School | 230 N. Cuyler, Oak Park, IL 60302 | School | 41.890981, -87.782666 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
William Hatch School | 1000 N. Ridgeland Ave., Oak Park, IL 60302 | School | 41.905279, -87.782951 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Oliver Wendell Holmes School | 508 N. Kenilworth, Oak Park, IL 60302 | School | 41.895103, -87.797485 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Washington Irving School | 1125 S. Cuyler Ave., Oak Park, IL 60304 | School | 41.868140, -87.78325 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Abraham Lincoln School | 1111 S. Grove, Oak Park, IL 60304 | School | 41.868168, -87.79569 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Henry Wadsworth Longfellow School | 715 S Highland Ave., Oak Park, IL 60304 | School | 41.875788, -87.782366 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Horace Mann School | 921 N. Kenilworth Ave., Oak Park, IL 60302 | School | 41.902716, -87.798513 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
John Greenleaf Whitter School | 715 N. Harvey, Oak Park, IL 60302 | School | 41.898997, -87.782228 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Gwendolyn Brooks Middle School | 325 S. Kenilworth Avenue, Oak Park, IL 60302 | School | 41.882112, -87.79759 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Percy Julian Middle School | 416 S. Ridgeland Avenue, Oak Park, IL 60302 | School | 41.881113, -87.783893 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
District 97 Administration Building-HUB | 260 Madison St., Oak Park, IL 60302 | Administration | 41.880290, -87.782249 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
District 97 Warehouse | 541 W. Madison St. Oak Park, IL 60302 | Administration | 41.878827, -87.804303 | See Diagram in "Oak Park Elementary School District 97 Building Diagrams.pdf"
Village of Oak Park - Village Hall- HUB Option | 123 Madison St. Oak Park, IL 60302 | Village | Use Street Address | Entry from west side next to handicap entrance, proceed through utility room and hallway into MDF (~60ft)
Village of Oak Park-Fire Station-Main | 100 N Euclid Ave, Oak Park, IL 60301 | Village | Use Street Address | Entry from west side next to main entrance. Proceed through to IDF at north east corner of the building (~200ft)
Village of Oak Park - Public Works - HUB Option | 201 South Blvd., Oak Park, IL 60302 | Village | Use Street Address | Entry from North side by N.Lombard and South Blvd intersection. In the building proceed west and then to 2nd floor MDF (~500ft)
Village of Oak Park-Fire Station-North | 212 Augusta Street, Oak Park, IL 60302 | Village | Use Street Address | Entry from West side, proceed into apparatus floor IDF (~100ft)
Village of Oak Park-Fire Station-South | 900 South East Street, Oak Park, IL 60304 | Village | Use Street Address | Entry from corner at North side into office with IDF (~20ft)
Village of Oak Park-Central Pump Station | 102 North Lombard Avenue, Oak Park, IL 60302 | Village | Use Street Address | Entry from West side in the middle of the building. Proceed through basement into ground floor electrical room with IDF (~150ft)
Village of Oak Park-North Pump Station | 1010 North Ridgeland Avenue, Oak Park, IL 60302 | Village | Use Street Address | Entry from West side, proceed to pump room IDF (~50ft)
Village of Oak Park-South Pump Station | 207 Garfield Street, Oak Park, IL 60304 | Village | Use Street Address | Entry from North side proceed to pump room IDF (~50ft)
Village of Oak Park-Holly Court Garage | 1125 Ontario Street, Oak Park, IL 60302 | Village | Use Street Address | Entry from North side of NE corner straight into MDF (~20ft)
Village of Oak Park-Avenue Garage | 720 North Blvd., Oak Park, IL 60301 | Village | Use Street Address | Entry from South side on west wing into security office (~60ft)
Village of Oak Park-Lake and Forest Garage | 938 Lake Street, Oak Park, IL 60301 | Village | Use Street Address | Entry from South side - conduit leading to telecom room (~600ft)
Village of Oak Park-OPRF High School Garage | 137 North Scoville Ave., Oak Park, IL 60302 | Village | Use Street Address | Entry from South on west side, proceed into electrical room (~300ft)

## Leased Lit FiberSPOTN
Oak Park Broadband Consortium
Leased Lit Fiber and Services Provided over Third Party Networks
If Services Provided Over Third Party Networks Pleased indicate which Transport Medium
What Transport Medium: Wireless/Coax/Copper/Other
A Location | Z Location | 10G 60 Month Monthly Recurring | 10G 60 Month Special Construction | 10G 60 Month Non-Recurring | 40G 60 Month Monthly Recurring | 40G 60 Month Special Cons. | 40G 60 Month Non-Recurring
District 97 Administration Building | William Beye Elementary School
District 97 Administration Building | William Hatch School
District 97 Administration Building | Oliver Wendell Holmes School
District 97 Administration Building | Washington Irving School
District 97 Administration Building | Abraham Lincoln School
District 97 Administration Building | Henry Wadsworth Longfellow School
District 97 Administration Building | Horace Mann School
District 97 Administration Building | John Greenleaf Whitter School
District 97 Administration Building | Gwendolyn Brooks Middle School
District 97 Administration Building | Percy Julian Middle School
District 97 Administration Building | District 97 Warehouse
Choice of Village Hall or Public Works Building | Village of Oak Park - Main Building (Village Hall)
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-Main
Choice of Village Hall or Public Works Building | Village of Oak Park - Public Works
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-North
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-South
Choice of Village Hall or Public Works Building | Village of Oak Park-Central Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-North Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-South Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-Holly Court Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Avenue Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Lake and Forest Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-OPRF High School Garage

## Leased Dark Fiber
Oak Park Broadband Consortium | Leased Dark Fiber
Leased Dark Fiber
Services provided over Third party Networks
A Location | Z Location | 4 Strand 60 Month Monthly Recurring | 4 Strand 60 Month Special Construction | 4 strand 120 Month (IRU) One time payment | 4 strand 240 Month (IRU) One time payment | Maintenance & Operations 60 Months Recurring (2 Year 5 renewals) | Leased Dark Fiber Special Construction
District 97 Administration Building | William Beye Elementary School
District 97 Administration Building | William Hatch School
District 97 Administration Building | Oliver Wendell Holmes School
District 97 Administration Building | Washington Irving School
District 97 Administration Building | Abraham Lincoln School
District 97 Administration Building | Henry Wadsworth Longfellow School
District 97 Administration Building | Horace Mann School
District 97 Administration Building | John Greenleaf Whitter School
District 97 Administration Building | Gwendolyn Brooks Middle School
District 97 Administration Building | Percy Julian Middle School
District 97 Administration Building | District 97 Warehouse
Choice of Village Hall or Public Works Building | Village of Oak Park -Village Hall
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-Main
Choice of Village Hall or Public Works Building | Village of Oak Park - Public Works
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-North
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-South
Choice of Village Hall or Public Works Building | Village of Oak Park-Central Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-North Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-South Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-Holly Court Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Avenue Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Lake and Forest Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-OPRF High School Garage

## Equipment
Oak Park Broadband Consortium
Equipment Quote
School/Site Name | Current Equipment to be reused | Needed equipment for Self Provisioned, Dark Fiber, or IRU | Quanity
William Beye Elementary School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
William Hatch School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Oliver Wendell Holmes School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Washington Irving School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Abraham Lincoln School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Henry Wadsworth Longfellow School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Horace Mann School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
John Greenleaf Whitter School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Gwendolyn Brooks Middle School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
Percy Julian Middle School | WS-C4500X-16 | Small Form-Factor Pluggable | 2
District 97 Administration Building | WS-C4500X-16 | Small Form-Factor Pluggable | 10
District 97 Warehouse | WS-C2960S-48FPS-L to be replaced | Cisco 4500X-16 or Equlivent in additon to Small Form-Factor Pluggable | 1 switch and two SFP+
Village of Oak Park-Village Hall | HP 5900af-48xg-4qsfp+ | Need 8 LR SFP+'s (JL439A or JD094B or equiv) | 1
Village of Oak Park-Public Works | HP 3800 | Need HPE Aruba 3810M 16SFP+ 2-Slot Switch and 8 X130 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Fire Station-Main | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Fire Station-North | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Fire Station-South | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Central Pump Station | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-North Pump Station | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-South Pump Station | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Holly Court Garage | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Avenue Garage | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-OPRF High School Garage | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1
Village of Oak Park-Lake and Forest Garage | HP 2920 | Need HPE 2920 2-port 10GbE SFP+ Module (J9731A) and 2 10G LR (J9151A) SFP+'s | 1

## Self-Provisioning
Oak Park Broadband Consortium
Self Provisioning Quotation
A Location Name | Z Location Name | 4 strand build construction (Total cost) | 4 strand build construction (cost per foot) | 12 strand build construction (Total cost) | 12 strand build construction (cost per foot) | 24 strand build construction (cost per foot) | 24 strand build construction (cost per foot) | MRC Maintenance and Operations - First 60 months (with 2 five year renewals) | Annual Pole Attachement fee (If Aerial)
District 97 Administration Building | William Beye Elementary School
District 97 Administration Building | William Hatch School
District 97 Administration Building | Oliver Wendell Holmes School
District 97 Administration Building | Washington Irving School
District 97 Administration Building | Abraham Lincoln School
District 97 Administration Building | Henry Wadsworth Longfellow School
District 97 Administration Building | Horace Mann School
District 97 Administration Building | John Greenleaf Whitter School
District 97 Administration Building | Gwendolyn Brooks Middle School
District 97 Administration Building | Percy Julian Middle School
District 97 Administration Building | District 97 Warehouse
Choice of Village Hall or Public Works Building | Village of Oak Park - Village Hall
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-Main
Choice of Village Hall or Public Works Building | Village of Oak Park - Public Works
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-North
Choice of Village Hall or Public Works Building | Village of Oak Park-Fire Station-South
Choice of Village Hall or Public Works Building | Village of Oak Park-Central Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-North Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-South Pump Station
Choice of Village Hall or Public Works Building | Village of Oak Park-Holly Court Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Avenue Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-Lake and Forest Garage
Choice of Village Hall or Public Works Building | Village of Oak Park-OPRF High School Garage

## Special Construction Worksheet
Oak Park Broadband Consortium
Special Construction Detail
Please provide all of the details requested below of each route's endpoint the proposed fiber network that is being constructed.
Route Start Point |  |  |  | Route Endpoint
Start Point Name (Include BEN Name, if applicable) | Latitude | Longitude |  | End Point Name (Include BEN Name and Number, if applicable) | Latitude | Longitude
| 0 | 0 |  |  | 0 | 0
| 0 | 0 |  |  | 0 | 0
| 0 | 0 |  |  | 0 | 0
| 0 | 0 |  |  | 0 | 0
Please provide the information requested below for the whole project:
Plant Mix:
| Plant Type | Expected Plant Mix | Existing Plant Mix | Average Cost per Foot for Type of Plant Mix
Please indicate what % of build will be Aerial. |  | 0 | 0 | 0
Please indicate what % of build will be Direct Buried. |  | 0 | 0 | 0
Please indicate what % of build will be Buried with Conduit (underground). |  | 0 | 0 | 0
| Total (of the three categories above must = 1) | 0 | 0 | N/A
Electronics Cost Detail | (DOES NOT APPLY TO LIT FIBER REQUESTS) |  | Material | Labor
Please provide the cost of Material and Labor for Customer Premise Equipment (CPE) needed to light the fiber being built.
Please provide the cost of Material and Labor for Core Equipment needed to light the fiber being built.
If you are not seeking any E-rate funding for CPE or Core Equipment needed to light the fiber, please explain why.
Count of Remote Nodes by Speed
In your network , how many facilities/service location will be provided a 1gbps or less circuit to the hub/demarc?
In your network, how many facilities/service locations will be provided at greater than 1gbps circuit to the hub/dermarc?
Node Count
Core/Host Node Detail
At the network Hub, there is generally either a router or a switch to which the circuits from service locations/facilities connect.
Active Ports
On the equipment located at the Hub, how many ports are connecting a service location at the speed of 1gbps or less ?
On the equipment located at the Hub, how many ports are connecting a service location at the speed of greater than 1gbps but less than or equal to 10gbps?